# Review

1

of California Electric Utility Reliability 2006-2015

- Annual Reporting by Electric Utility

Using National Reporting Standards

IEEE 1366-2012 , first adopted by electric industry in mid-2000s

- Duration of Outages (SAIDI)

- Frequency of Outages (SAIFI)

- Average Duration of Outages (CAIDI)

2

Number of Momentary Outages (MAIFI)

## IOU Systemwide Historic Trends

600.0

Systemwide Annual SAIDI

2011 Southwest Blackout

500.0

#### PG&E SAIDI 10 year moving average

400.0

#### SCE SAIDI 10 year moving average

300.0

SDG&E SAIDI 10 year moving average

SDG&E

600.00

500.00

400.00

300.00

200.00

100.00

0.00

2006	2007	2008	2009	2010	2011	2012	2013	2014	2015

600

500

400

300

200

100

0

2006	2007	2008	2009	2010	2011	2012	2013	2014	2015

### PG&E SAIDI

200.0

### SCE SAIDI

100.0

### SDG&E SAIDI

3

0.0

2006	2007	2008	2009	2010	2011	2012	2013	2014	2015

4

IOU District Map

## Distribution of District SAIDI Scores

60. Humboldt

59

60

2	57

3	56 58

59. North Valley

58. Blythe

57. Big Creek

56.Yucca Valley

5

1	4 5

PG&E Bay Area - San Francisco Division

SAIDI

45

0.544

MAIFI

78

CAIDI

0.575

SAIFI

200

1.5

200

1.5

150

1.0

150

1.0

100

0.5

100

0.5

50

0	0.0

50

0	0.0

METRICS HISTORY

METRIC

SAIDI

2015

44.7

2014

141.7

% CHANGE

-68%

SAIFI	0.575	0.858		-33%

CAIDI	77.74	165.15	-53%

MAIFI	0.544	0.353	54%

PG&E Northern Region - Humboldt Division

SAIDI

SAIFI

CAIDI

MAIFI

2.839

311

2.382

741

ALL METRICS

1,500

1,000

500

0

4

3

2

1

0

500

400

300

200

100

0

5

4

3

2

1

0

| METRIC | 2015 | 2014 | % CHANGE |
| --- | --- | --- | --- |
| SAIDI | 741 | 351 | 111% |
| SAIFI | 2.382 | 1.528 | 56% |
| CAIDI | 311.13 | 229.38 | 36% |
| MAIFI | 2.839 | 1.940 | 46% |

SCE Orange County - Saddleback District

SAIDI

SAIFI

200

150

100

50

0

1.5

1.0

0.5

0.0

0.39

46

| CAIDI |  |  |
| --- | --- | --- |
| 120 |  |  |
| 200 150 100 50 0 |  |  |

MAIFI

0.379

1.00

0.75

0.50

0.25

0.00

METRICS HISTORY

-54%

99.07

46.03

SAIDI

% CHANGE

2014

2015

METRIC

SAIFI	0.39	0.74		-47%

CAIDI

119.54

133.03

-10%

MAIFI	0.379	0.556		-32%

es County West - Long Beach District

SCE Los Angel

SAIDI

MAIFI

1.5

1.0

0.5

0.0

0.89

SAIFI

1.185

| CAIDI |  |  |
| --- | --- | --- |
| 184 |  |  |
| 250 200 150 100 50 0 |  |  |

164

200	1.00

150	0.75

100	0.50

50	0.25

METRICS HISTORY

0	0.00

148%

66.23

164.46

SAIDI

% CHANGE

2014

2015

METRIC

CAIDI

183.90

109.27

68%

SAIFI	0.89	0.61		46%

MAIFI	1.19	1.168		1%

SCE Los Angeles County West - South Bay District

SAIDI

SAIFI

CAIDI

200

150

100

50

0

2.0

1.5

1.0

0.5

0.0

200

150

100

50

0

126

1.31

164

MAIFI

1.660

3

2

1

0

METRICS HISTORY

31%

125.15

164.07

SAIDI

% CHANGE

2014

2015

METRIC

SAIFI	1.31	1.39		-6%

CAIDI

125.70

90.01

40%

MAIFI	1.66	1.650		1%

10

In Conclusion

Recent investments in distributed energy resources, smart grid technologies, and other innovations have already resulted in impressive returns on investments to Californians.

11

Electric reliability has improved over the past 10 years.